Activity; Use of TBC Kitchen area. Assessors Name; A.W. Jones,
Location; The Patch, Gwbert on Sea, Cardigan . Assessment Date; October 2020
Hazard	Likelihood	Severity	Overall Risk	Control Measures
Slips trips and falls	2	2	4	Good housekeeping: kept tidy, with items correctly stored / Maintenance of equipment: Checked for leaks, report if found. / Fault reporting: faults reported to Land and Buildings (L&B) Manager. / Staff clean up spillage: Cleaning equipment available , wet floor signage available, suitable foot wear to be worn. / Good lighting: Lighting checked and maintained. / No trailing cables on walkways: the only trailing cables should be on worktops
Manual Handling	1	3	3	Items to be delivered in small quantities, work tops are at a suitable height, sink at correct height to avoid stooping. Staff trained in manual handling techniques.
Contact with burns and scalding	1	3	3	Staff trained and made aware of hot liquids and steam, arm protection should be worn, heat resistant gloves/cloths/aprons to be worn.
Use of knives and cutting equipment	2	2	4	Staff trained in the correct use and storage of knives, first aid kit available.
Food handling	2	2	4	Suitable kitchen equipment should be used where possible, single use non-latex gloves should be worn if possible if not possible hands should be wash before and after contact with food. Food hygiene training required.
Food Storage	1	4	4	Fridges and freezers are used, food dating / labelling system used. Temperature monitored and items to be stored correctly. Food hygiene training required.
Use of Chemicals	1	4	4	Suitable chemicals are stored within the CoSHH cupboard, all items are assessed if assessment is required. Correct PPE is available.
Gas appliances	1	4	4	Pre use check applied, 12 monthly inspection by Gas Safe engineer carried out. Isolation tap visible and clearly labelled.
Electrical appliances	1	4	4	Pre use visual inspection required. PAT testing carried out, non portable items are hard wired in place. Faults to be reported to Land&Buildings Manager
Fire	1	4	4	See Fire Risk Assessment . Fire Blanket and Extinguishers available.

Risk Rating			Rating action bands
To establish residual risk rating multiply “likelihood by the severity”
Likelihood	Severity		Risk Band	I additional action required
1, Most unlikely	1, Trivial injury		1 & 2, Minor Trivial risk	No further action required, Monitor situation
2, Unlikely	2, Slight Injury		3 to 5, Low risk	Monitor control measures for continued effectiveness
3, Likely	3, Serious, chronic injury		6 & 8, Medium risk	Improve or increase control measures
4, Most Likely	4, Major injury or death		9, 12 & 16 High risk	Stop the activity, improve and increase controls immediately
Management confirmation
I have noted the above assessment and will take appropriate steps to ensure all actions raised and control measures are implemented
		Name			Signature
Club Commodore
Vice Commodore
Land and Buildings Officer

Risk Assessment Review / To be carried out annually, after an incident or if there are any significant changes.
	Date	Name of person conducting the review
1st review date
2nd review date
3rd review date
4th review date
5th review date